## Sheet1
Sl# | REQUIRED TECHNIAL SPECIFICATIONS | QTY | TECHNICAL SPECIFICATIONS OFFERED
Items description and specificaitons
1 | FMD Antigen ELISA | 1 Kit
Specifications:
ELISA kits for FMDV antigen (serotypes O, A,Asia1, SAT1 and SAT2) 1 kit= 5 plates. ELISA kit prepared and standardized by FMD World
Reference Laboratory (WRL) at Pirbright, United Kingdom Temperature required for storage:
Maintained at +4°C throughout
Packaging and special transport requirements: Maintained at +4°C throughout
2 | AniGen Foot and Mouth Disease (FMD) NSP Ab ELISA | 1 Kit
Specifications:
Contains following items to perform the assay. 1) Antigen coated plate: 5
Sheets (96 wells, configured in 12 x 8 wells.) 2) Negative Control: 1 vial (1.5 ㎖ ) of normal bovine serum preserved in phosphate buffer with protein stabilizer. Proclin 300 (0.05%) added as preservatives. 3) Positive Control: 1 vial (1.5 ㎖) of rabbit polyclonal antibodies to FMDV preserved in phosphate buffer with protein stabilizer. Proclin 300 (0.05%) added as preservatives. 4) Washing solution (10X concentrated) : 1 bottle(250 ㎖) of PBS-Tween 20. Preservative is Proclin 300 (0.05%) 5) Enzyme Conjugate (101X concentrated) : 1 vial(1.2 ㎖) of monoclonal anti-FMDV HRP, BSA and stabilizers. Preservative is Proclin 300 (0.05%). 6) Conjugate Diluent: 1 bottle (40 ㎖) of phosphate buffered saline, BSA and stabilizers. Preservative: Proclin 300 (0.05%).7) Substrate (Ready to use) : 1 bottle (60 ㎖/vial) of tetramethyl-benzidine with citrate-phosphate buffer containing H2O2
Temperature required for storage:
Maintained at +4°C throughout
Packaging and special transport requirements: Maintained at +4°C throughout
3 | Nuclease-free water | 2 of 20 mls
Specification:
Sterile nuclease-free water Temp Temperature required for storage:
Maintained at +4°C throughout
Packaging and special transport requirements: Maintained at +4°C throughout
4 | AgPath-ID™ One-Step RT-PCR Reagents | 1 kit
Specifications:
Master mix, 2× conc.lyophilized master mix for 500 x 20µL qPCR reactions (M3071.0500). Master mix. Ready-to-use freeze-dried master mix that contains all necessary components for real-time PCR. This master mix is stable for at least 24 months at ambient temperature if the supplied tube is kept unopened.
Temperature required for storage:
Dry ice
Packaging and special transport requirements:
Dry ice
5 | Probang cup | 13 each
Specifications:
7/8 inch (22 mm) diameter free cutting brass for calf; handle material is 10 S.W.G. stainless steel wire in a hard drawn state to provide 'spring'. Temperature required for storage:
Room temperature
Packaging and special transport requirements:
Room temperature
6 | Probang cup | 13 each
Specifications:
1 1/8-inch (28 mm) diameter free cutting brass for cattle; handle material is 10 S.W.G. stainless steel wire in a hard drawn state to provide 'spring'. Temperature required for storage:
Room temperature
Packaging and special transport requirements:
Room temperature
7 | Probang cup | 13 each
Specifications:
3/4 inch (19 mm) diameter free cutting brass for small ruminants; handle material is 10 S.W.G. stainless steel wire in a hard drawn state to provide 'spring'.
Temperature required for storage:
Room temperature
Packaging and special transport requirements:
Room temperature